## Martins LDES paper runs
Scenario Set (see Table 1) | Description | location | scenario2 | Status | Crossover | Relative error | runtime (min) | costs_scenario | plants_scenario | constant_scenario | minimums_scenario | transmission_costs_scenario | demand_scenario_id | hydro_scenario | wind_to_solar ratio | derate_hydro
Baseline | Baseline | /1342 | 178 | Done |  |  | 85 | 13 | 4 | 2
Not Used | Transmission - No New Tx | /T3 | 178 | Infeasible |  |  |  | 13 | 4 | 2 |  | 3
Not Used | Energy to Power Ratio Low, 0.56, ATB moderate | /R14 | 178 | Done |  |  | 82 | 14 | 4 | 2
Not Used | Energy to Power Ratio Very Low, 0.1, CAES | /R15 | 178 | Done |  |  | 84 | 15 | 4 | 2
Not Used | Load - Intermediate efficiency, no electrification | /L112 | 178 | Done |  |  | 81 | 13 | 4 | 2 |  |  | 112
Not Used | Load - Intermediate efficiency, electrification | /L113 | 178 | Done |  |  | 90 | 13 | 4 | 2 |  |  | 113
Not Used | Load - Aggressive efficiency, no electrification | /L114 | 178 | Done |  |  | 83 | 13 | 4 | 2 |  |  | 114
Set A | Solar dominant (r=.10, default=.23) | /WS10 | 178 | Done |  | 2.63e-07 |  | 13 | 4 | 2 |  |  |  |  | 0.1
Set A | Equal (r=1) | /WS100 | 178 | Done |  |  | 92 | 13 | 4 | 2 |  |  |  |  | 1
Not Used | Wind dominant (r=5) | /WS500 | 178 | Done | Yes |  |  | 13 | 4 | 2 |  |  |  |  | 5
Not Used | 70-30 Wind-Solar (r=2.3333) | /WS233 | 178 | Done |  | 0.005 |  | 13 | 4 | 2 |  |  |  |  | 2.3333
Set A | 30-70 Wind-Solar (r=0.4286) | /WS043 | 178 | Done |  |  | 94 | 13 | 4 | 2 |  |  |  |  | 0.4286
Set A | 40-60 Wind-Solar (r=0.6667) | /WS066 | 178 | Done |  |  | 102 | 13 | 4 | 2 |  |  |  |  | 0.6667
Set A | 25-75 Wind Solar (r=0.3333) | /WS033 | 178 | Done |  |  | 83 | 13 | 4 | 2 |  |  |  |  | 0.3333
Set A | 21-79 Wind Solar (r=0.2658) | /WS027 | 178 | Done |  |  | 82 | 13 | 4 | 2 |  |  |  |  | 0.2658
Set A | 60-40 Wind Solar (r=1.5) | /WS150 | 178 | Done | Yes |  |  | 13 | 4 | 2 |  |  |  |  | 1.5
Set A | 15-85 Wind Solar (r=0.1765) | /WS018 | 178 | Done |  |  | 74 | 13 | 4 | 2 |  |  |  |  | 0.1765
Not Used | Low Hydro | /H24 | 178 | Done |  |  | 85 | 13 | 4 | 2 |  |  |  | 24
Set B | No Hydro | /H25 | 178 | Done |  |  | 83 | 13 | 4 | 2 |  |  |  | 25
Not Used | 50% Hydro | /H26 | 178 | Done | Yes |  |  | 13 | 4 | 2 |  |  |  | 26
Set B | 25% Hydro | /H025 | 178 | Done |  |  | 80 | 13 | 4 | 2 | [5 empty] | 0.25
Set B | 65% Hydro | /H065 | 178 | Done |  |  | 80 | 13 | 4 | 2 | [5 empty] | 0.65
Set B | 85% Hydro | /H085 | 178 | Done |  |  | 88 | 13 | 4 | 2 | [5 empty] | 0.85
Set B | 50% Hydro Verify (Using new post-process method) | /H050 | 178 | Done |  |  | 80 | 13 | 4 | 2 | [5 empty] | 0.5
Set C | Unlimited TX | /T4 | 178 | Done |  |  | 85 | 13 | 4 | 2 |  | 4
Set C | 10x TX Costs | /T5 | 178 | Done |  |  | 88 | 13 | 4 | 2 |  | 5
Not Used | Basline, ATB Costs | /C12 | 178 | Done |  |  | 83 | 12 | 4 | 2
Not Used | 50% of DOE Costs | /C16 | 178 | Done |  |  | 86 | 16 | 4 | 2
Set D | Baseline, 10$/kWh | /C17 | 178 | Done |  |  | 88 | 17 | 4 | 2
Set D | Baseline, 1$/kWh | /C18 | 178 | Done |  |  | 86 | 18 | 4 | 2
Set D | Baseline, 70$/kWh (ATB Advanced) | /C19 | 178 | Done |  |  | 85 | 19 | 4 | 2
Set D | Baseline, 102$/kWh (ATB Moderate) | /C20 | 178 | Done |  |  | 84 | 20 | 4 | 2
Set D | Baseline, 0.5$/kWh | /C21 | 178 | Done |  |  | 76 | 21 | 4 | 2
Set D | Baseline, 2$/kWh | /C22 | 178 | Done |  |  | 89 | 22 | 4 | 2
Set D | Baseline, 5$/kWh | /C23 | 178 | Done |  |  | 90 | 23 | 4 | 2
Set D | Baseline, 15$/kWh | /C24 | 178 | Done |  |  | 89 | 24 | 4 | 2
Set D | Baseline, 40$/kWh | /C25 | 178 | Done |  |  | 70 | 25 | 4 | 2
Set D | Baseline, 7$/kWh | /C26 | 178 | Done |  |  | 82 | 26 | 4 | 2
Set E | 2TWh | /M7 | 178 | Done |  |  | 85 | 13 | 4 | 2 | 7
Set E | 4TWh | /M6 | 178 | Done |  |  | 82 | 13 | 4 | 2 | 6
Set E | 8TWh | /M5 | 178 | Done |  |  | 87 | 13 | 4 | 2 | 5
Set E | 16TWh | /M4 | 178 | Done |  |  | 81 | 13 | 4 | 2 | 4
Set E | 32TWh | /M3 | 178 | Done | Yes |  |  | 13 | 4 | 2 | 3
Set E | 64TWh | /M2 | 178 | Done |  |  | 94 | 13 | 4 | 2 | 2
Set E | 24 TWh | /M8 | 178 | Done |  |  | 67 | 13 | 4 | 2 | 8
Set E | 3 TWh | /M9 | 178 | Done |  |  | 73 | 13 | 4 | 2 | 9
Set E | 2.5 TWh | /M10 | 178 | Done |  |  | 106 | 13 | 4 | 2 | 10
Set E | 12 TWh | /M11 | 178 | Done |  |  | 98 | 13 | 4 | 2 | 11
Set E | 48 TWh | /M12 | 178 | Done |  |  | 111 | 13 | 4 | 2 | 12
Set E | 20 TWh | /M13 | 178 | Done |  |  | 113 | 13 | 4 | 2 | 13
Set E | 18 TWh | /M14 | 178 | Done |  |  | 65 | 13 | 4 | 2 | 14